Paediatric Airway Rescue Trolley – Contents List

Side of Trolley

Frova Intubating Introducer with Stiffening Cannula (8FR)

Frova Intubating Introducer (14FR)

Cook Airway Exchange Catheters:	8FR (≥3mm)

11FR (≥4mm)

14FR (≥5mm)

Top Drawer. Newborn up to 1 year. 0-10kg

Facemasks: 	Intersurgical sizes 0 and 1

Laerdal sizes 0 and 1 (re-usable)

Oropharyngeal Airway, sizes 000, 00 and 0

ETT sizes 2 and 2.5 uncuffed

ETT sizes 3 and 3.5, microcuff

Laryngoscopes:	Robertshaw blades sizes 0 and 1 (Proact single use)

Proact single use paediatric handle with batteries installed

Stylet. Size: Small

LMA Unique, sizes 1 and 1.5

2nd Drawer. 1-6 years. 10-20kg

Facemasks:	Intersurgical size 2

Armstrong Medical size 2

Oropharyngeal Airway sizes 0 and 1

Rusch Nasopharyngeal Airway, size 22

ETT sizes 3.5, 4 and 4.5 microcuff

Laryngoscopes:	MAC 2 Blades (both types of disposable, Europa and Proact)

Proact single use paediatric handle with batteries installed

Stylet. Size: Medium

LMA Unique, size 2

3rd Drawer. 6-12 years. 20-30kg

Facemasks:	Armstrong Medical size 2

Intersurgical size 3

Oropharyngeal Airway, sizes 1 and 2

Rusch Nasopharyngeal Airway, size 24

ETT sizes 5, 5.5, 6 and 6.5 cuffed

Laryngoscopes:	MAC 2 and MAC 3 single use blades (Proact)

Proact single use paediatric handle with batteries installed

Stylet. Size: Medium

LMA Unique, size 2.5

4th Drawer. 12 years +. 30kg +

Facemask:	Armstrong Medical size 4

Oropharyngeal Airway, sizes 2 and 3

Rusch Nasopharyngeal Airway, size 26

ETT sizes 6, 6.5, 7 and 7.5 cuffed

Laryngoscope:	MAC 3 and MAC 4 single use blades (Proact)

Proact single use adult handle with batteries installed

Stylet. Size: Large

LMA Unique, sizes 3 and 4

5th Drawer. Advanced Airway Equipment

Equipment for surgical cricothyroidotomy:	Swann Morton single use No. 15 scalpel

Tracheal dilators

Tracheal hook

Dressing pack

Gastric tubes: 6F, 8F, 10F, 12F

50ml catheter tip syringe & 20ml standard syringe

Lidocaine 4%

MAD x 1

(Cook airway exchange catheters on side of trolley)

Glidescope Sheath; Size 1, size 2 and size 3

Infant Airtraq x 1

Paperwork:	APAGBI Guidelines

DAS Guidelines

Reference Chart for ETT’s that fit down LMA’s

Guide for Intubating through LMA